## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Principal, Hindu College, University of Delhi
Name of Work: Repair of Boy’s Hostel including repair of toilets, Hindu College, Delhi University, Delhi
Contract No: HC-1/9601
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supplying chemical emulsion in sealed containers including delivery as specified. Chlorpyriphos/ Lindane emulsifiable concentrate of 20%.Diluting and injecting chemical emulsion for POSTCONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) | BI01010001010000000000000515BI0100001114 | 14.19 | Litre | 185.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | BI01010001010000000000000515BI0100001115 | 141.89 | sqm | 131.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) | BI01010001010000000000000515BI0100001116 | 27.4 | cum | 4209.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand(zone-III) : 4 graded stone aggregate 20mm nominal size). | BI01010001010000000000000515BI0100001117 | 0.79 | sqm | 320.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Centering and shuttering including strutting, propping etc. and removal of form for : Shelves (Cast in situ) | BI01010001010000000000000515BI0100001118 | 13.69 | sqm | 422.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto floor V level Thermo-Mechanically Treated bars. | BI01010001010000000000000515BI0100001119 | 179 | kilogram | 56.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately). All works above plinth level upto floor V level | BI01010001010000000000000515BI0100001120 | 1.79 | cum | 7250.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Half brick masonry with F.P.S. bricks of class designation 75 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | BI01010001010000000000000515BI0100001121 | 115.92 | sqm | 684.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Extra for providing and placing in position 2 Nos. 6mm dia. M.S. bars at every third course of half brick masonry (with F.P.S. bricks). | BI01010001010000000000000515BI0100001122 | 115.92 | sqm | 56.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for flooring, staircase treads , riers and landings, kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels. Granite of any colour and shade Area of slab upto 0.50 sqm | BI01010001010000000000000515BI0100001123 | 13.69 | sqm | 3351.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Extra for providing edge moulding to 18mm thick marble stone counters, Vanities etc. including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite of any colour and shade | BI01010001010000000000000515BI0100001124 | 22.82 | metre | 245.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. | BI01010001010000000000000515BI0100001125 | 13.69 | sqm | 231.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
13 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces ofshutters. Twin rubber stopper | BI01010001010000000000000515BI0100001126 | 16.2 | sqm | 2129.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
14 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacture ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | BI01010001010000000000000515BI0100001127 | 559.34 | sqm | 744.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15 | Providing and laying rectified ceramic glazed tiles 300 x300 mm or more (thickness to be specified by the manufacture) of 1st quality conforming to IS :15622 of approved make and all colour and shades except white, Ivory, Grey, Fume, Red brown laid on 20mm thick cement morter 1:4 (1cement : 4coarse sand) including pointing the joint with white cement and matching pigments etc. complete | BI01010001010000000000000515BI0100001128 | 303.86 | sqm | 901.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | BI01010001010000000000000515BI0100001129 | 10 | each | 187.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
17 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | BI01010001010000000000000515BI0100001130 | 60 | rmt | 236.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
18 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | BI01010001010000000000000515BI0100001131
18.01 | Coupler 110 mm | BI01010001010000000000000515BI0100001132 | 8 | each | 102.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
18.02 | Single tee without door 110x110x110 mm | BI01010001010000000000000515BI0100001133 | 8 | each | 167.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
18.03 | Shoe (Plain) 110 mm Shoe | BI01010001010000000000000515BI0100001134 | 8 | each | 98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
19 | Distempering with oil bound washable distemper of approved brand andmanufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer | BI01010001010000000000000515BI0100001135 | 188.8 | sqm | 93.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
20 | Finishing walls with water proofing cement paint of required shade : New work (Two or more coats applied @ 3.84 kg/10 sqm) | BI01010001010000000000000515BI0100001136 | 169.51 | sqm | 58.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
21 | Providing and applying 12 mm thick (average) premixed formulated one coat gypsum lightweight plaster having additives and light weightaggregates as vermiculite/ perlite respectively conforming to IS: 2547 (Part - 1 & II) 1976, applied on hacked / uneven background suchas bare brick/ block/ RCC work on walls & ceiling at all floors and locations, finished in smooth line and level etc. complete. | BI01010001010000000000000515BI0100001137 | 169.51 | sqm | 217.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
22 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineerin- charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. | BI01010001010000000000000515BI0100001138 | 326.01 | sqm | 160.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
23 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | BI01010001010000000000000515BI0100001139 | 130.2 | cum | 615.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
24 | Demolishing brick work manually/ by mechanical means including stackingof serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | BI01010001010000000000000515BI0100001140 | 91.49 | cum | 842.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
25 | Taking out doors, windows and clerestory window shutters (steel orwood) including stacking within 50 metres lead : Of area 3 sq. metres and below | BI01010001010000000000000515BI0100001141 | 44 | each | 61.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
26 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | BI01010001010000000000000515BI0100001142 | 608.14 | sqm | 31.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
27 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | BI01010001010000000000000515BI0100001143 | 150.73 | sqm | 109.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
28 | Dismantling C.I. pipes including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means breaking lead caulked joints, melting of lead and making into blocks including stacking of pipes & lead at site within 50 metre lead as per direction of Engineer-in-charge: Up to 150 mm diameter | BI01010001010000000000000515BI0100001144 | 80 | Meter | 183.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
29 | Dismantling of cement concrete platform along with curtain walls and base concrete etc. including stacking of useful materials nearthe site and disposal of unserviceable materials within 50 metres lead : 210 x 120 cm (outside to outside) | BI01010001010000000000000515BI0100001145 | 2 | each | 692.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
30 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | BI01010001010000000000000515BI0100001146 | 939.87 | sqm | 22.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
31 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | BI01010001010000000000000515BI0100001147 | 222.47 | cum | 120.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
32 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/ neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item) : With float glass panes of 5.50 mm thickness | BI01010001010000000000000515BI0100001148 | 17.21 | sqm | 1003.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
33 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | BI01010001010000000000000515BI0100001149 | 303.86 | Sqm | 298.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
34 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | BI01010001010000000000000515BI0100001150 | 56 | each | 73.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
35 | Providing and fixing 600x120x5mm glass shelf with edges round of supported on anodised aluminium angle frame with C.P. brass brackets and guard rail complete fixed with 40mm long screws, rawl plugs etc. complete. | BI01010001010000000000000515BI0100001151 | 32 | each | 573.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
36 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work including cutting chases and making good the walls etc., | BI01010001010000000000000515BI0100001152
37 | 20 mm nominal outer dia .Pipes | BI01010001010000000000000515BI0100001153 | 220 | metre | 284.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
38 | 25 mm nominal outer dia .Pipes. | BI01010001010000000000000515BI0100001154 | 110 | metre | 333.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
39 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement ,trenching ,refilling & testing of joints complete as per direction of Engineer in Charge. | BI01010001010000000000000515BI0100001155
39.01 | 15 mm nominal outer dia .Pipes. | BI01010001010000000000000515BI0100001156 | 80 | metre | 120.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
39.02 | 20 mm nominal outer dia .Pipes. | BI01010001010000000000000515BI0100001157 | 80 | metre | 149.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
39.03 | 25 mm nominal outer dia .Pipes. | BI01010001010000000000000515BI0100001158 | 30 | metre | 191.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
39.04 | 32 mm nominal outer dia .Pipes. | BI01010001010000000000000515BI0100001159 | 30 | metre | 250.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
40 | Providing and fixing PTMT soap Dish Holder having length of 138mm, breadth 102mm, height of 75mm with concealed fitting arrangements, weighing not less than 106 gms. | BI01010001010000000000000515BI0100001160 | 28 | each | 112.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
41 | Cutting holes upto 30x30 cm in walls including making good the same : With common burnt clay F.P.S. (non modular) bricks. | BI01010001010000000000000515BI0100001161 | 25 | each | 219.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
42 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipesincluding bed concrete as per standard design: 250 mm diameter S.W. pipe | BI01010001010000000000000515BI0100001162 | 30 | meter | 1027 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
43 | Providing and fixing square-mouth S.W. gully trap class SP1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design : 150 x 100 mm size P type. With sewer bricks conforming to IS : 4885 | BI01010001010000000000000515BI0100001163 | 20 | each | 1640.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
44 | Dismantling of old S.W. pipes including breaking of joints and bed concrete stacking of useful materials near the site within 50 m lead anddisposal of unserviceable materials into municipal dumps: 150 mm diameter | BI01010001010000000000000515BI0100001164 | 15 | meter | 40.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
45 | Propping and supporting the structural members Steel Prop of up to 5MT Capacity and up to 3.2 m height | BI01010001010000000000000515BI0100001165 | 41 | Each | 60 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
46 | Extra for every additional height of 0.3 M or part there of | BI01010001010000000000000515BI0100001166 | 41 | Each | 60 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
47 | Dismantling existing RCC work but excluding cutting of reinforcement bars Manually using chisel and hammer | BI01010001010000000000000515BI0100001167 | 0.78 | cum | 1454.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
48 | Renoving Concrete all around reinforcememt including from behind the bars By manual methods Bars up to and including 12 mm diameter | BI01010001010000000000000515BI0100001168 | 30.1 | meter | 5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
49 | Cleaning exposed concrete surface of lightly sticking materials With wire brush, chisel etc for all height | BI01010001010000000000000515BI0100001169 | 12.57 | Sqm | 22.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
50 | Wet curing of shotcreted or plastered surface or RCC work as per specifications by keeping it continuously wet for a minimum period of seven days ( with regular sprinkling of water by keeping the surface continuously wet. | BI01010001010000000000000515BI0100001170 | 169.51 | Sqm per layer | 220 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
51 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FR PVC insulated copper conductor single core cable etc. as required. Group C | BI01010001010000000000000515BI0100001171 | 68 | Point | 960 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
52 | Supplying and drawing following sizes of FR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required | BI01010001010000000000000515BI0100001172
52.01 | 3 x 1.5 sq.mm | BI01010001010000000000000515BI0100001173 | 500 | Meter | 50 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
52.02 | 6 x 1.5 sq.mm | BI01010001010000000000000515BI0100001174 | 250 | Meter | 95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
52.03 | 9 x 1.5 sq.mm | BI01010001010000000000000515BI0100001175 | 185 | Meter | 148 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
53 | Supplying and fixing of following sizes of medium classPVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | BI01010001010000000000000515BI0100001176
53.01 | 20mm | BI01010001010000000000000515BI0100001177 | 500 | Metre | 53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
53.02 | 25 mm | BI01010001010000000000000515BI0100001178 | 250 | Metre | 65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
53.03 | 32 mm | BI01010001010000000000000515BI0100001179 | 185 | Meter | 85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
54 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 amp socket outlet | BI01010001010000000000000515BI0100001180 | 20 | each | 150 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
55 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | BI01010001010000000000000515BI0100001181 | 20 | Each | 23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
56 | Supplying and fixng suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 & 5/6 amps modular socket outlet and 15/16 amps modular switch, connection, painting etc. as required. | BI01010001010000000000000515BI0100001182 | 20 | Each | 248 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
57 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection, painting etc. as required. (For light plugs to be used in non residential buildings). | BI01010001010000000000000515BI0100001183 | 20 | Each | 166 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
58 | Installation of exhaust fan upto 450 mm sweep in the existing opening, including making the hole to suit the size of the above fan, making good the damage, connection, testing, commissioning etc. as required.( Up to 450mm sweep) | BI01010001010000000000000515BI0100001184 | 20 | Each | 204 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
59 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | BI01010001010000000000000515BI0100001185 | 20 | Each | 90 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
60 | Supplying and fixing 5 amps ot 32 amps rating, 240 volts, 'B' series, miniature circuit breaker suitable for lighting and other load of following poles in the exisiting MCB DB complete with connections, testing and commissioning etc. as required. Single pole | BI01010001010000000000000515BI0100001186 | 12 | Each | 169 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
61 | Cleaning reinforcement of total rust by tapping and using mechanical wire brush or any other suitable way including from behind and around the reinforcement bars to give it a totally rust free finished steel surface (Mode of measurement - concrete surface area with exposed reinforcement) | BI01010001010000000000000515BI0100001187 | 12.57 | Sqm | 50 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
62 | Providing and supplying the one competent, Polymer modified cementitiuos anti- corrosive primer (having the technical parameters mentioned in material specifications ) formulated to provide dual protection of a polymeric barrier and an integral corrosion-inhibting system, to the existing steel and additional steel provided before patching of damaged areas, using suitable tools and equipment inclusive of Material, Manpower and Equipment. BASF Master Emaco P130/ Fosroc Nitoprime Zincrich /Sika Rustoff 100 or other equivalent (mode of measurement - concrete surface area with exposed reinforcement) | BI01010001010000000000000515BI0100001188 | 12.57 | Sqm | 165 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
63 | Providing and application of bond coat on the concrete surface by mixing high dispersion SBR latex like MasterEmco SBR2 of BASF with white cement in the ratio of 2:3. The mixing shoul be done to a lump free consistency for the bond coat and the screed/ mortar should be applied once the bond coat is tacky. Master Emco SBR 2 of BASF or Nitobond SBR ( Latex) of Fosroc or equivalent. | BI01010001010000000000000515BI0100001189 | 12.57 | Sqm | 98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
64 | Providing and repairing the damaged concrete portion with single compnent, fibre reinforced, dual shrinkage- compensated thixotropic, cementious ptch repair mortar ( having the technical parameters mentioned in material specifications ) capable of applying 25mm thick in single layer initially by hand and finishing with trowed carefully compacting the same around the rebars and finishing to bring it in line with existing concrete surface withh an average specified thickness inclusive of manpower , material and Equivalent Master Emaco 5348 of BASF Renderoc HB-60 of Fosroc/Sikadur 41 of Sika or equivalent. (a) 25mm thickess | BI01010001010000000000000515BI0100001190 | 12.57 | Sqm | 2150 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
65 | Providing and fixing shear connections of 10 mm dia HYSD steel with two components, styrene & cement free epoxy- acrylate fixing and anchoring compound ( having the technical parameters mentioned in material specifications) using standard sealant applicator gun after drilling holes of 12mm diameter to a minimum depth of 100 mm at required locations, inclusive of all material, manpower and equipment Masterflow 935 of BASF/ Lokfix P25 of Fosroc or equivalent | BI01010001010000000000000515BI0100001191 | 75.42 | No. | 73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
66 | Providing and applying single component, reactive, hydofobic, silane based coating to all the exposed concrete surface. The coating shall have penetrative action blocking pore capilaries but allowing water vapour to come our from the substrate, complete as per direction of Engineer- in -charge. Make- MasterSeal 380 by M/s BAS/ Nitocote SN 502/ SN 511 of Fosroc/ Sikagard 506 of Sika or equivalent. | BI01010001010000000000000515BI0100001192 | 12.57 | Sqm | 270 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
67 | W.C Cubicles GENERAL : Restroom Cubicle System,highly resistant against water, chemical and impact. MATERIALS All accessories shall be made of powder-coated aluminium grade 6063-T5. The doors, pilasters and intermediate partitions shall be 12 mm thick High Pressure Laminates (HPL) compact board (or phenolic board) with chamfered edges. HPL compact boards are manufactured from sheets of special kraft and decor papers, impregnated with thermosetting synthetic resins which are fused together under heat and high pressure. HPL compact boards are laminated on both sides with suede finish. PILASTERS All pilasters shall be of same colour as doors, 12 mm thick HPL compact board with chamfered edge, completed with Nylon thumbturn for locking doors. Colours different from doors are available upon request. The pilaster is affixed to the Top Rail and secured from the top of the Top Rail. The floor clearance is 150 mm. TOP RAIL Heavy-duty Aluminium H-section Top Rail Channel, 70 mm x 125 mm x 5 mm (cross-section dimension, W x H x T), shall be anchored to the wall with Mild Steel Wall Bracket. Pilaster shall be section-fixed onto the bottom slot of the Top Rail for maximum strength, stability and alignment of the system. INTERMEDIATE PARTITIONS All intermediate partitions shall be of same colour as door, 12 mm thick HPL compact board with Aluminium U channel, affixed at its ends (to the wall and pilaster). For ultimate stability of the system, length shall not exceed 1800 mm. ACCESSORIES Each restroom cubicle will be equipped with the following accessories (nylon colours available in black, grey or white) of a reputed brand • Nylon Door Knob • Nylon Thumbturn with Occupancy Indicator • Nylon Coat Hook • Nylon Hinges with 3 choices of standard, gravity-to-open or gravity-to-close FINISHES HPL compact boards are available in a variety of brilliant colours and woodgrains. HPL in suede finish only. INSTALLATION Installation will be executed under the supervision of specialized company experienced in toilet cubicles. | BI01010001010000000000000515BI0100001193
68 | GUARANTEE ALL THE FITTINGS , PARTITIONS ETC. SHALL CARRY A GUARANTEE OF MINIMUM 2 YEARS. | BI01010001010000000000000515BI0100001194 | 34 | each | 25000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
69 | Desilting of gully grating chamber including taking out garvage/malba and stacking with in a lead of 50 meter as per direction of engineer-in-Charge | BI01010001010000000000000515BI0100001195 | 3 | each | 63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
70 | Cleaning of manholes complete including pumping out water and taking all safety measures for gases and taking out sludge and stacking with in a lead of 50 meter and taking necessary safety measures as per direction of Engineer-in-Charge | BI01010001010000000000000515BI0100001196 | 3 | each | 124 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
71 | Cleaning of existing chowked sewer line including removing malba/sludge from the line including testing the line after cleaning and disposal of the collected malba as per direction of Engineer-in-charge | BI01010001010000000000000515BI0100001197 | 20 | metre | 42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
72 | Cleaning of existing storm water drain including removing malba/sludge upto a lead of 50 meter lead as per direction of Engineer-in-charge | BI01010001010000000000000515BI0100001198 | 20 | metre | 25.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
73 | Providing and fixing CPVC gate valve of approved quality | BI01010001010000000000000515BI0100001199
73.01 | 25 mm nominal bore | BI01010001010000000000000515BI0100001200 | 8 | each | 800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
73.02 | 32 mm nominal bore | BI01010001010000000000000515BI0100001201 | 2 | each | 900 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
73.03 | 40 mm nominal bore | BI01010001010000000000000515BI0100001202 | 2 | each | 1000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
74 | Providing and fixing CPVC non- return valve of approved quality 40 mm nominal bore | BI01010001010000000000000515BI0100001203
74.01 | Horizontal | BI01010001010000000000000515BI0100001204 | 8 | each | 410 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
74.02 | Vertical | BI01010001010000000000000515BI0100001205 | 8 | each | 444.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
75 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length | BI01010001010000000000000515BI0100001207
75.01 | 20 mm nominal bore | BI01010001010000000000000515BI0100001208 | 8 | each | 750 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
75.02 | 25mm nominal bore | BI01010001010000000000000515BI0100001209 | 4 | each | 800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
75.03 | 32 mm nominal bore | BI01010001010000000000000515BI0100001210 | 4 | each | 850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
76 | Providing & Fixing Towel Rack 600 mm long without lower hangers but with three hooks as per direction of Engineer-in-Charge Code : ACN-1181FHN Jaquar | BI01010001010000000000000515BI0100001211 | 28 | Nos. | 2962 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
77 | Providing & Fixing Soap Dispenser with glass bottel as per direction of Engineer-in-Charge Code: AKP-35735P Jaquar | BI01010001010000000000000515BI0100001212 | 28 | Nos. | 1684 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
78 | Providing & Fixing Towel Ring Round as per direction of Engineer-in-Charge Code: AQN-7721 Jaquar | BI01010001010000000000000515BI0100001213 | 28 | Nos. | 929 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
79 | Providing and fixing CP grating of approved quality as per direction of Engineer-in-Charge.Circular type.100 mm nominal dia. | BI01010001010000000000000515BI0100001214 | 86 | Nos. | 101 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
80 | Providing and fixing 6001 Classic Overhead Shower with Arm | BI01010001010000000000000515BI0100001215 | 28 | Nos. | 811 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
81 | Supply onlyhandling, fixing with provision also of all accessories required for installation and testing | BI01010001010000000000000515BI0100001216 | 28 | Nos. | 124 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
82 | Providing, fixing, jointing and testing in position of ISI marked UV stabilized UPVC pipes for soil, waste and vent & rain water, Type-B as per IS13592 : suitable for rubber ring joints, including all neccessary specials and fittings (confirming to IS:) i.e. bends, tees, junctions (with or without doors), reducers, couplers, cowls, clamps, rubber rings, clean outs etc. fixing at wall/ ceiling/ floor level supported by clamp & hangers etc. in concealed / inside duct / under floor & basement ceiling / external work etc. including chase cutting,cutting of RCC slab as required, excavation and back filling in all kind of soils, suspended from floor under false ceiling including cost of shuttering for proper completion of the work, breaking and making good the walls and floors etc. after pipes have been duly laid and tested. | BI01010001010000000000000515BI0100001217
83 | The Pipes will be supported with threaded G I rods & clamps on 50x50x5 mm slotted angle. The cost will include all support arrangements. The work includes commissioning of all pipes lines as per drawings and specifications and as directed by engg-in-charge at site.-Supreme/Prince make 110 mm outer dia. | BI01010001010000000000000515BI0100001218 | 190 | Rm | 850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
84 | Providing & fixing Long body Bib Cock with wall flange (Make :- jaguar Con-107 KN ) | BI01010001010000000000000515BI0100001219 | 90 | each | 1000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
85 | Providing & fixing Angular Stop Cock with nuts, washer with C.P. brass flange complete, including cutting and making good the walls, wherever required. Regular body with adjustable wall flange (Make :- jaguar Con-059 KN ) | BI01010001010000000000000515BI0100001220 | 66 | each | 750 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
86 | Providing & fixing Concealed Stop Cock with nuts, washer with C.P. brass flange complete, including cutting and making good the walls, wherever required. Regular body with adjustable wall flange (Make :- jaguar Con-089 KN ) | BI01010001010000000000000515BI0100001221 | 56 | each | 1050 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
87 | Providing & fixing Oval counter top Basin with provision also of all accessories required for installation and testing (Brand- Hindware Catalogue no 10017 Oval counter top Basin Star white ) | BI01010001010000000000000515BI0100001222 | 32 | each | 2250 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
88 | Providing & fixing Pillar Cock Long neck With Aerator Hindware | BI01010001010000000000000515BI0100001223 | 32 | each | 1000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
89 | Providing & fixing Urinal with provision also of all accessories required for installation and testing (Make :- Hindware catalogue no. 60002 FB- Large standard urinal star white ) | BI01010001010000000000000515BI0100001224 | 24 | each | 4310 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
90 | Providing & fixing 10 Lit. Auto flush Urinal cistern with provision also of all accessories required for installation and testing | BI01010001010000000000000515BI0100001225 | 24 | each | 1000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
91 | Providing & fixing Wall-hung European type water closet with provision also of all accessories required for installation and testing (Brand- Hindware Catalogue no 20061 Star white wall mounted closet) | BI01010001010000000000000515BI0100001226 | 34 | each | 5970 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
92 | Providing & fixing Concealed Cistern with Chrome Plate Brand Viega | BI01010001010000000000000515BI0100001227 | 34 | each | 4300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
93 | Supply only handling, fixing ,testing and all accessories required for installation. | BI01010001010000000000000515BI0100001228 | 34 | each | 600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
94 | Providing and fixing 5.5 mm thk. Mirror mounted on S.S Stud | BI01010001010000000000000515BI0100001229 | 18 | sqm | 120 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
95 | Supply of recess/pendent mounting Ultrasslim LED flat panel (2'X2') with high efficient LEDs & glare free opal diffuser in all respect at site. Make:- Halonix/Philips/Bajaj/Pierlit. Halonix :- HLFPU22-02-36-CW | BI01010001010000000000000515BI0100001231 | 32 | Each | 4500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
96 | Supply of Surface/Pendent Mounting Industrial T5 Lumiouries fitting with power coated CRCA Steel housing with reflector cover T5 Channel luminoure(T5 1 x 28 W) complete with electronic chocke without lamp in all respect at site. Bajaj :- BTIR 128 or equivalent of Phillips/Crompton. | BI01010001010000000000000515BI0100001232 | 32 | Each | 1000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
97 | Supply of BULKHEAD Luminaire with toughened frosted glass suitable for 1 no 9 watt CFL lamp complete as required. ( Philips make ) cat no FXC 101 | BI01010001010000000000000515BI0100001233 | 4 | Each | 790 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
98 | Supply of lamps for as above fitting complete in all respect at the site..(Make-:Philips/Bajaj/Wipro) | BI01010001010000000000000515BI0100001234
98.01 | 16 watts LED | BI01010001010000000000000515BI0100001235 | 4 | Each | 182 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
98.02 | 20 watt LED | BI01010001010000000000000515BI0100001236 | 32 | Each | 116 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information